## Publishing data
Stotts EPL 12181 2023
Special frequency 1 | means the collection of samples quarterly at points 1 and 2 and at least once per week whenever water is discharging from the sedimentation basin during dry weather and rainfall events of up to 83mm falling at the premises over any consecutive 5 day period
Special frequency 2 | means the collection of samples quarterly at points 15 and 16 and at least once per week of point 15 whenever water is discharging from the sedimentation basin during dry weather and rainfall events of up to 83mm falling at the premises over any consecutive 5 day period
Obtained date |  |  | 2023-03-14 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-28 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-29 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 1
Pollutant | Unit of measure | Frequency | NO EXIT FLOW NO SAMPLE TAKEN | NO EXIT FLOW NO SAMPLE TAKEN | NO EXIT FLOW NO SAMPLE TAKEN | NO EXIT FLOW NO SAMPLE TAKEN | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Exceedance (yes/no) | Comment
Alkalinity | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Ammonia | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Arsenic | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
BOD | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Calcium | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Chloride | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Conductivity | microsiemens per centimetre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Fluoride | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Iron | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Magnesium | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Manganese | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Nitrate | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Nitrite | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Nitrogen (total) | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Organochlorine pesticides (μg/L) | micrograms per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
pH | pH | Special Frequency 1 |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Potassium | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Redox Potential | As approp. | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Sodium | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Sulfate | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Temperature | degrees Celsius | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
TOC | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Total Phenolics (μg/L) | micrograms per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Total Suspended Solids | milligrams per litre | Special Frequency 1 |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Special frequency Point 1 | LIMIT
pH | 6.5 - 8.5 | pH
Total Suspended Solids | 50 | milligrams per litre
Obtained date |  |  | 2023-03-14 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-28 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-29 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 2
Pollutant | Unit of measure | Frequency |  |  |  | NO EXIT FLOW NO SAMPLE TAKEN | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Alkalinity | milligrams per litre | Quarterly | 84 | 102 | 139 |  | 4 | 3 | 84 | 108.3333 | 139
Ammonia | milligrams per litre | Quarterly | 0.02 | 0.36 | 4.16 |  | 4 | 3 | 0.02 | 1.5133 | 4.16
Arsenic | milligrams per litre | Quarterly | 0.006 | 0.003 | 0.008 |  | 4 | 3 | 0.003 | 0.0056667 | 0.008
BOD | milligrams per litre | Quarterly | 9.3 | 2.4 | 4.8 |  | 4 | 3 | 2.4 | 5.5 | 9.3
Calcium | milligrams per litre | Quarterly | 27 | 39 | 52 |  | 4 | 3 | 27 | 39.3333 | 52
Chloride | milligrams per litre | Quarterly | 28 | 28 | 38 |  | 4 | 3 | 28 | 31.3333 | 38
Conductivity | microsiemens per centimetre | Quarterly | 307 | 372 | 524 |  | 4 | 3 | 307 | 401 | 524
Fluoride | milligrams per litre | Quarterly | 0.08 | 0.07 | 0.12 |  | 4 | 3 | 0.07 | 0.09 | 0.12
Iron | milligrams per litre | Quarterly | 0.17 | 0 | 2.58 |  | 4 | 3 | 0 | 0.91667 | 2.58
Magnesium | milligrams per litre | Quarterly | 4.9 | 0.35 | 8.1 |  | 4 | 3 | 0.35 | 4.45 | 8.1
Manganese | milligrams per litre | Quarterly | 0.222 | 0.132 | 0.938 |  | 4 | 3 | 0.132 | 0.43067 | 0.938
Nitrate | milligrams per litre | Quarterly | 0.02 | 0.55 | 0.04 |  | 4 | 3 | 0.02 | 0.20333 | 0.55
Nitrite | milligrams per litre | Quarterly | 0.02 | 0.12 | 0.02 |  | 4 | 3 | 0.02 | 0.053333 | 0.12
Nitrogen (total) | milligrams per litre | Quarterly | 1.9 | 1.79 | 5.87 |  | 4 | 3 | 1.79 | 3.1867 | 5.87
Organochlorine pesticides (μg/L) | micrograms per litre | Quarterly | 1 | 1 | 1 |  | 4 | 3 | 1 | 1 | 1
pH | pH | Special Frequency 1 | 8.9 | 8 | 7.6 |  | 4 | 3 | 7.6 | 8.1667 | 8.9
Potassium | milligrams per litre | Quarterly | 13 | 12 | 17 |  | 4 | 3 | 12 | 14 | 17
Redox Potential | As approp. | Quarterly | 94.1 | 88.2 | 162 |  | 4 | 3 | 88.2 | 114.7667 | 162
Sodium | milligrams per litre | Quarterly | 19 | 19 | 22 |  | 4 | 3 | 19 | 20 | 22
Sulfate | milligrams per litre | Quarterly | 25 | 28 | 71 |  | 4 | 3 | 25 | 41.3333 | 71
Temperature | degrees Celsius | Quarterly | 27 | 18.8 | 20.1 |  | 4 | 3 | 18.8 | 21.9667 | 27
TOC | milligrams per litre | Quarterly | 23 | 7.9 | 10 |  | 4 | 3 | 7.9 | 13.6333 | 23
Total Phenolics (μg/L) | micrograms per litre | Quarterly | 1 | 1 | 1 |  | 4 | 3 | 1 | 1 | 1
Total Suspended Solids | milligrams per litre | Special Frequency 1 | 22 | 2 | 36 |  | 4 | 3 | 2 | 20 | 36
Obtained date |  |  | 2023-03-14 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-28 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-29 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 3
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Alkalinity | milligrams per litre | Quarterly | 139 | 139 | 121 | 125 | 4 | 4 | 121 | 131 | 139
Ammonia | milligrams per litre | Quarterly | 2.91 | 2.95 | 2.77 | 2.85 | 4 | 4 | 2.77 | 2.87 | 2.95
Arsenic | milligrams per litre | Quarterly | 0.036 | 0.057 | 0.046 | 0.035 | 4 | 4 | 0.035 | 0.0435 | 0.057
BOD | milligrams per litre | Quarterly | 1.8 | 1.5 | 1 | 1 | 4 | 4 | 1 | 1.325 | 1.8
Calcium | milligrams per litre | Quarterly | 41 | 40 | 37 | 39 | 4 | 4 | 37 | 39.25 | 41
Chemical Oxygen Demand | milligrams per litre | Quarterly | 10 | 24 | 22 | 27 | 4 | 4 | 10 | 20.75 | 27
Chloride | milligrams per litre | Quarterly | 40 | 38 | 58 | 42 | 4 | 4 | 38 | 44.5 | 58
Conductivity | microsiemens per centimetre | Quarterly | 499 | 476 | 455 | 471 | 4 | 4 | 455 | 475.25 | 499
Copper | milligrams per litre | Quarterly | 0.018 | 0.014 | 0.018 | 0.01 | 4 | 4 | 0.01 | 0.015 | 0.018
Dissolved Oxygen | milligrams per litre | Quarterly | 4.1 | 4.2 | 3.4 | 2.6 | 4 | 4 | 2.6 | 3.575 | 4.2
Fluoride | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.04 | 4 | 4 | 0.02 | 0.025 | 0.04
Iron | milligrams per litre | Quarterly | 9.84 | 10.4 | 13.1 | 7.85 | 4 | 4 | 7.85 | 10.2975 | 13.1
Manganese | milligrams per litre | Quarterly | 0.371 | 0.382 | 0.361 | 0.384 | 4 | 4 | 0.361 | 0.3745 | 0.384
Nitrate | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
Nitrite | milligrams per litre | Quarterly | 0.05 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.0275 | 0.05
Nitrogen (total) | milligrams per litre | Quarterly | 3.65 | 3.34 | 3.31 | 3.3 | 4 | 4 | 3.3 | 3.4 | 3.65
Organochlorine pesticides (μg/L) | micrograms per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
pH | milligrams per litre | Quarterly | 6.4 | 6.6 | 6.4 | 6.4 | 4 | 4 | 6.4 | 6.45 | 6.6
Potassium | milligrams per litre | Quarterly | 15 | 15 | 13 | 14 | 4 | 4 | 13 | 14.25 | 15
Redox Potential | milligrams per litre | Quarterly | -2 | 5.3 | 12.9 | 10.6 | 4 | 4 | -2 | 6.7 | 12.9
Sodium | milligrams per litre | Quarterly | 33 | 31 | 29 | 28 | 4 | 4 | 28 | 30.25 | 33
Standing Water Level | metres | Quarterly | 2.9 | 5.6 | 4.2 | 3.3 | 4 | 4 | 2.9 | 4 | 5.6
Sulfate | milligrams per litre | Quarterly | 40 | 34 | 40 | 40 | 4 | 4 | 34 | 38.5 | 40
Temperature | degrees Celsius | Quarterly | 22.5 | 22.8 | 20.5 | 23 | 4 | 4 | 20.5 | 22.2 | 23
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 3.6 | 3.34 | 3.29 | 3.28 | 4 | 4 | 3.28 | 3.3775 | 3.6
TOC | milligrams per litre | Quarterly | 11 | 12 | 11 | 11 | 4 | 4 | 11 | 11.25 | 12
Total Phenolics (μg/L) | micrograms per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
Methane | %bv | Quarterly | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 | 0.05
Obtained date |  |  | 2023-03-14 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-28 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-29 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 4
Pollutant | Unit of measure | Frequency | BORE DESTROYED |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Alkalinity | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0 | • Bore destroyed
Ammonia | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Arsenic | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
BOD | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Calcium | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Chemical Oxygen Demand | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Chloride | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Conductivity | microsiemens per centimetre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Copper | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Dissolved Oxygen | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Fluoride | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Iron | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Manganese | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Nitrate | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Nitrite | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Nitrogen (total) | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Organochlorine pesticides (μg/L) | micrograms per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
pH | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Potassium | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Redox Potential | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Sodium | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Standing Water Level | metres | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Sulfate | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Temperature | degrees Celsius | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
TOC | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Total Phenolics (μg/L) | micrograms per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Methane | %bv | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Obtained date |  |  | 2023-03-14 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-28 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-29 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 5
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Alkalinity | milligrams per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
Ammonia | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.03 | 0.02 | 4 | 4 | 0.02 | 0.0225 | 0.03
Arsenic | milligrams per litre | Quarterly | 0.001 | 0.001 | 0.001 | 0.001 | 4 | 4 | 0.001 | 0.001 | 0.001
BOD | milligrams per litre | Quarterly | 1.2 | 1 | 1 | 1 | 4 | 4 | 1 | 1.05 | 1.2
Calcium | milligrams per litre | Quarterly | 0.7 | 1.1 | 0.9 | 0.9 | 4 | 4 | 0.7 | 0.9 | 1.1
Chemical Oxygen Demand | milligrams per litre | Quarterly | 10 | 10 | 10 | 10 | 4 | 4 | 10 | 10 | 10
Chloride | milligrams per litre | Quarterly | 70 | 66 | 63 | 66 | 4 | 4 | 63 | 66.25 | 70
Conductivity | microsiemens per centimetre | Quarterly | 344 | 320 | 293 | 338 | 4 | 4 | 293 | 323.75 | 344
Copper | milligrams per litre | Quarterly | 0.012 | 0.009 | 0.014 | 0.016 | 4 | 4 | 0.009 | 0.01275 | 0.016
Dissolved Oxygen | milligrams per litre | Quarterly | 3.8 | 5.3 | 3.4 | 7.2 | 4 | 4 | 3.4 | 4.925 | 7.2
Fluoride | milligrams per litre | Quarterly | 0.08 | 0.09 | 0.12 | 0.08 | 4 | 4 | 0.08 | 0.0925 | 0.12
Iron | milligrams per litre | Quarterly | 3.15 | 1.47 | 4.37 | 5.32 | 4 | 4 | 1.47 | 3.5775 | 5.32
Manganese | milligrams per litre | Quarterly | 0.255 | 0.248 | 0.288 | 0.299 | 4 | 4 | 0.248 | 0.2725 | 0.299
Nitrate | milligrams per litre | Quarterly | 7.32 | 5.35 | 3.99 | 7.43 | 4 | 4 | 3.99 | 6.0225 | 7.43
Nitrite | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
Nitrogen (total) | milligrams per litre | Quarterly | 7.6 | 2.14 | 4.17 | 8.5 | 4 | 4 | 2.14 | 5.6025 | 8.5 | Elevated nitrogen, bore damaged, contine monitor
Organochlorine pesticides (μg/L) | micrograms per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
pH | milligrams per litre | Quarterly | 3.8 | 4.1 | 4.1 | 4.1 | 4 | 4 | 3.8 | 4.025 | 4.1
Potassium | milligrams per litre | Quarterly | 0.9 | 0.8 | 0.7 | 0.7 | 4 | 4 | 0.7 | 0.775 | 0.9
Redox Potential | milligrams per litre | Quarterly | 357.2 | 301.8 | 338.4 | 357.1 | 4 | 4 | 301.8 | 338.625 | 357.2
Sodium | milligrams per litre | Quarterly | 39 | 38 | 36 | 38 | 4 | 4 | 36 | 37.75 | 39
Standing Water Level | metres | Quarterly | 6.1 | 6.3 | 6.7 | 6.5 | 4 | 4 | 6.1 | 6.4 | 6.7
Sulfate | milligrams per litre | Quarterly | 6.1 | 10 | 8.6 | 7.9 | 4 | 4 | 6.1 | 8.15 | 10
Temperature | degrees Celsius | Quarterly | 24.1 | 21.5 | 22.7 | 23.9 | 4 | 4 | 21.5 | 23.05 | 24.1
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 0.28 | 0.09 | 0.16 | 1.07 | 4 | 4 | 0.09 | 0.4 | 1.07
TOC | milligrams per litre | Quarterly | 1.6 | 2.2 | 2 | 1.9 | 4 | 4 | 1.6 | 1.925 | 2.2
Total Phenolics (μg/L) | micrograms per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
Methane | %bv | Quarterly | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 | 0.05
Obtained date |  |  | 2023-03-14 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-28 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-29 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 6
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Alkalinity | milligrams per litre | Quarterly | 72 | 82 | 72 | 76 | 4 | 4 | 72 | 75.5 | 82
Ammonia | milligrams per litre | Quarterly | 0.02 | 0.03 | 0.04 | 0.74 | 4 | 4 | 0.02 | 0.2075 | 0.74
Arsenic | milligrams per litre | Quarterly | 0.002 | 0.0004 | 0.006 | 0.026 | 4 | 4 | 0.0004 | 0.0086 | 0.026
BOD | milligrams per litre | Quarterly | 2.4 | 2.1 | 1 | 1.5 | 4 | 4 | 1 | 1.75 | 2.4
Calcium | milligrams per litre | Quarterly | 36 | 44 | 21 | 16 | 4 | 4 | 16 | 29.25 | 44
Chemical Oxygen Demand | milligrams per litre | Quarterly | 29 | 18 | 12 | 24 | 4 | 4 | 12 | 20.75 | 29
Chloride | milligrams per litre | Quarterly | 28 | 26 | 29 | 31 | 4 | 4 | 26 | 28.5 | 31
Conductivity | microsiemens per centimetre | Quarterly | 443 | 352 | 298 | 300 | 4 | 4 | 298 | 348.25 | 443
Copper | milligrams per litre | Quarterly | 0.006 | 0.003 | 0.002 | 0.002 | 4 | 4 | 0.002 | 0.00325 | 0.006
Dissolved Oxygen | milligrams per litre | Quarterly | 6.4 | 5 | 3.6 | 3 | 4 | 4 | 3 | 4.5 | 6.4
Fluoride | milligrams per litre | Quarterly | 0.05 | 0.06 | 0.05 | 0.04 | 4 | 4 | 0.04 | 0.05 | 0.06
Iron | milligrams per litre | Quarterly | 1.3 | 1.5 | 1.56 | 6.66 | 4 | 4 | 1.3 | 2.755 | 6.66
Manganese | milligrams per litre | Quarterly | 0.268 | 0.391 | 0.54 | 0.707 | 4 | 4 | 0.268 | 0.4765 | 0.707
Nitrate | milligrams per litre | Quarterly | 8.13 | 1.66 | 0.22 | 0.05 | 4 | 4 | 0.05 | 2.515 | 8.13
Nitrite | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
Nitrogen (total) | milligrams per litre | Quarterly | 10.3 | 2.14 | 0.75 | 1.26 | 4 | 4 | 0.75 | 3.6125 | 10.3
Organochlorine pesticides (μg/L) | micrograms per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
pH | milligrams per litre | Quarterly | 6.9 | 7 | 6.4 | 6.3 | 4 | 4 | 6.3 | 6.65 | 7
Potassium | milligrams per litre | Quarterly | 20 | 33 | 10 | 8.5 | 4 | 4 | 8.5 | 17.875 | 33
Redox Potential | milligrams per litre | Quarterly | 164.5 | 134.8 | 187.1 | 17.2 | 4 | 4 | 17.2 | 125.9 | 187.1
Sodium | milligrams per litre | Quarterly | 20 | 405 | 21 | 22 | 4 | 4 | 20 | 117 | 405
Standing Water Level | metres | Quarterly | 3 | 3.2 | 4.4 | 3.6 | 4 | 4 | 3 | 3.55 | 4.4
Sulfate | milligrams per litre | Quarterly | 53 | 147 | 23 | 18 | 4 | 4 | 18 | 60.25 | 147
Temperature | degrees Celsius | Quarterly | 24.8 | 20.5 | 19.9 | 22.6 | 4 | 4 | 19.9 | 21.95 | 24.8
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 2.15 | 0.48 | 0.53 | 1.21 | 4 | 4 | 0.48 | 1.0925 | 2.15
TOC | milligrams per litre | Quarterly | 8.6 | 5.3 | 7.4 | 8.7 | 4 | 4 | 5.3 | 7.5 | 8.7
Total Phenolics (μg/L) | micrograms per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
Methane | %bv | Quarterly | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 | 0.05
Obtained date |  |  | 2023-03-14 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-28 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-29 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 7
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Alkalinity | milligrams per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
Ammonia | milligrams per litre | Quarterly | 5.21 | 9.94 | 9.72 | 11.8 | 4 | 4 | 5.21 | 9.1675 | 11.8
Arsenic | milligrams per litre | Quarterly | 0.002 | 0.002 | 0.003 | 0.004 | 4 | 4 | 0.002 | 0.00275 | 0.004
BOD | milligrams per litre | Quarterly | 2.7 | 1 | 1 | 1 | 4 | 4 | 1 | 1.425 | 2.7
Calcium | milligrams per litre | Quarterly | 20 | 29 | 26 | 27 | 4 | 4 | 20 | 25.5 | 29
Chemical Oxygen Demand | milligrams per litre | Quarterly | 10 | 25 | 15 | 29 | 4 | 4 | 10 | 19.75 | 29
Chloride | milligrams per litre | Quarterly | 150 | 170 | 170 | 210 | 4 | 4 | 150 | 175 | 210
Conductivity | microsiemens per centimetre | Quarterly | 735 | 873 | 849 | 973 | 4 | 4 | 735 | 857.5 | 973
Copper | milligrams per litre | Quarterly | 0.023 | 0.013 | 0.018 | 0.024 | 4 | 4 | 0.013 | 0.0195 | 0.024
Dissolved Oxygen | milligrams per litre | Quarterly | 6.1 | 1.9 | 4.9 | 2.5 | 4 | 4 | 1.9 | 3.85 | 6.1
Fluoride | milligrams per litre | Quarterly | 0.08 | 0.04 | 0.06 | 0.04 | 4 | 4 | 0.04 | 0.055 | 0.08
Iron | milligrams per litre | Quarterly | 1.18 | 2.71 | 1.58 | 2.88 | 4 | 4 | 1.18 | 2.0875 | 2.88
Manganese | milligrams per litre | Quarterly | 0.48 | 0.872 | 0.735 | 0.832 | 4 | 4 | 0.48 | 0.72975 | 0.872
Nitrate | milligrams per litre | Quarterly | 4.72 | 0.12 | 1.6 | 0.44 | 4 | 4 | 0.12 | 1.72 | 4.72
Nitrite | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
Nitrogen (total) | milligrams per litre | Quarterly | 11.6 | 11.5 | 12.2 | 13 | 4 | 4 | 11.5 | 12.075 | 13
Organochlorine pesticides (μg/L) | micrograms per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
pH | milligrams per litre | Quarterly | 4.1 | 4.4 | 4.4 | 4.3 | 4 | 4 | 4.1 | 4.3 | 4.4
Potassium | milligrams per litre | Quarterly | 6.2 | 8.2 | 7.1 | 7.4 | 4 | 4 | 6.2 | 7.225 | 8.2
Redox Potential | milligrams per litre | Quarterly | 353 | 256.4 | 338.1 | 353.7 | 4 | 4 | 256.4 | 325.3 | 353.7
Sodium | milligrams per litre | Quarterly | 74 | 86 | 84 | 97 | 4 | 4 | 74 | 85.25 | 97
Standing Water Level | metres | Quarterly | 9 | 9.1 | 9.8 | 9.4 | 4 | 4 | 9 | 9.325 | 9.8
Sulfate | milligrams per litre | Quarterly | 70 | 117 | 99.9 | 110 | 4 | 4 | 70 | 99.225 | 117
Temperature | degrees Celsius | Quarterly | 23.1 | 22.9 | 22 | 23.6 | 4 | 4 | 22 | 22.9 | 23.6
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 6.88 | 11.3 | 10.6 | 12.6 | 4 | 4 | 6.88 | 10.345 | 12.6
TOC | milligrams per litre | Quarterly | 11 | 11 | 12 | 12 | 4 | 4 | 11 | 11.5 | 12
Total Phenolics (μg/L) | micrograms per litre | Quarterly | 1 | 1 | 2 | 1 | 4 | 4 | 1 | 1.25 | 2
Methane | %bv | Quarterly | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 | 0.05
Obtained date |  |  | 2023-03-14 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-28 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-29 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 8 is the deleaching well connected to the northern batter footprint of the landfill
Point 8
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Alkalinity | milligrams per litre | Quarterly | 6232 | 6501 | 6241 | 5600 | 4 | 4 | 5600 | 6143.5 | 6501
Ammonia | milligrams per litre | Quarterly | 1120 | 1090 | 1120 | 1030 | 4 | 4 | 1030 | 1090 | 1120
Arsenic | milligrams per litre | Quarterly | 0.061 | 0.066 | 0.065 | 0.058 | 4 | 4 | 0.058 | 0.0625 | 0.066
BOD | milligrams per litre | Quarterly | 138 | 87 | 81 | 54 | 4 | 4 | 54 | 90 | 138
Calcium | milligrams per litre | Quarterly | 72 | 77 | 73 | 65 | 4 | 4 | 65 | 71.75 | 77
Chemical Oxygen Demand | milligrams per litre | Quarterly | 1470 | 1510 | 1630 | 1350 | 4 | 4 | 1350 | 1490 | 1630
Chloride | milligrams per litre | Quarterly | 1380 | 1450 | 1420 | 1380 | 4 | 4 | 1380 | 1407.5 | 1450
Conductivity | microsiemens per centimetre | Quarterly | 14315 | 14118 | 7435 | 13598 | 4 | 4 | 7435 | 12366.5 | 14315
Copper | milligrams per litre | Quarterly | 0.006 | 0.005 | 0.004 | 0.004 | 4 | 4 | 0.004 | 0.00475 | 0.006
Dissolved Oxygen | milligrams per litre | Quarterly | 0.4 | 0.5 | 0.4 | 0.6 | 4 | 4 | 0.4 | 0.475 | 0.6
Fluoride | milligrams per litre | Quarterly | 0.3 | 0.32 | 0.38 | 0.27 | 4 | 4 | 0.27 | 0.3175 | 0.38
Iron | milligrams per litre | Quarterly | 11.2 | 12.3 | 11.8 | 11.6 | 4 | 4 | 11.2 | 11.725 | 12.3
Manganese | milligrams per litre | Quarterly | 0.445 | 0.54 | 0.347 | 0.538 | 4 | 4 | 0.347 | 0.4675 | 0.54
Nitrate | milligrams per litre | Quarterly | 1.84 | 3.94 | 3.15 | 1.25 | 4 | 4 | 1.25 | 2.545 | 3.94
Nitrite | milligrams per litre | Quarterly | 0.25 | 0.24 | 0.15 | 0.21 | 4 | 4 | 0.15 | 0.2125 | 0.25
Nitrogen (total) | milligrams per litre | Quarterly | 1240 | 100 | 1270 | 1130 | 4 | 4 | 100 | 935 | 1270
Organochlorine pesticides (μg/L) | micrograms per litre | Quarterly | 1 | 4 | 4 | 4 | 4 | 4 | 1 | 3.25 | 4
Potassium | milligrams per litre | Quarterly | 471 | 494 | 507 | 422 | 4 | 4 | 422 | 473.5 | 507
Redox Potential | milligrams per litre | Quarterly | -209.2 | -198.8 | -195.8 | -207 | 4 | 4 | -209.2 | -202.7 | -195.8
Sodium | milligrams per litre | Quarterly | 1220 | 1320 | 1420 | 1160 | 4 | 4 | 1160 | 1280 | 1420
Sulfate | milligrams per litre | Quarterly | 44 | 47 | 51 | 42 | 4 | 4 | 42 | 46 | 51
Temperature | milligrams per litre | Quarterly | 25.7 | 25.4 | 24.8 | 25.9 | 4 | 4 | 24.8 | 25.45 | 25.9
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 1240 | 1100 | 1270 | 1130 | 4 | 4 | 1100 | 1185 | 1270
Total Phenolics (μg/L) | micrograms per litre | Quarterly | 1 | 4 | 4 | 4 | 4 | 4 | 1 | 3.25 | 4
TOC | milligrams per litre | Quarterly | 475 | 466 | 475 | 425 | 4 | 4 | 425 | 460.25 | 475
pH | pH | Quarterly | 7.4 | 7.4 | 7.4 | 7.4 | 4 | 4 | 7.4 | 7.4 | 7.4
Obtained date |  |  | 2023-03-15 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-27 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-28 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 9
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Exceedance (yes/no) | Comment
Methane | percent by volume | Quarterly | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 | 0.05 | no
Obtained date |  |  | 2023-03-15 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-27 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-28 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 10
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Exceedance (yes/no) | Comment
Methane | percent by volume | Quarterly | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 |  | no
Obtained date |  |  | 2023-03-15 | 2023-06-13 | 2023-09-12 | 2023-11-27
Test results received |  |  | 2023-03-27 | 2023-06-22 | 2023-09-20 | 2023-12-21
Results published |  |  | 2023-03-28 | 2023-07-04 | 2023-10-03 | 2024-01-09
Point 11
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Exceedance (yes/no) | Comment
Methane | percent by volume | Quarterly
| Point 3 |  | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 | 0.05 | no
| Point 4 |  | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 | 0.05 | no
| Point 5 |  | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 | 0.05 | no
| Point 6 |  | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 | 0.05 | no
| Point 7 |  | 0.05 | 0.05 | 0.05 | 0.05 | 4 | 4 | 0.05 | 0.05 | 0.05 | no
Obtained date |  |  | 2023-03-15 | 2023-06-14 | 2023-09-13 | 2023-12-04
Test results received |  |  | 2023-03-27 | 2023-07-03 | 2023-10-10 | 2023-12-12
Results published |  |  | 2023-03-28 | 2023-07-04 | 2023-10-11 | 2024-01-09
Point 12
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Ammonia | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
BOD | milligrams per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1899-12-31 | 1
Conductivity | microsiemens per centimetre | Quarterly | 286 | 282 | 266 | 290 | 4 | 4 | 266 | 1900-10-07 | 290
Copper | milligrams per litre | Quarterly | 0.002 | 0.004 | 0.003 | 0.004 | 4 | 4 | 0.002 | 0.00325 | 0.004
Manganese | milligrams per litre | Quarterly | 0.22 | 0.228 | 0.064 | 0.235 | 4 | 4 | 0.064 | 0.18675 | 0.235
Nitrate | milligrams per litre | Quarterly | 0.34 | 0.47 | 0.4 | 0.32 | 4 | 4 | 0.32 | 0.3825 | 0.47
Nitrite | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
Nitrogen (total) | milligrams per litre | Quarterly | 0.34 | 0.69 | 0.5 | 0.51 | 4 | 4 | 0.34 | 0.51 | 0.69
Redox Potential | milligrams per litre | Quarterly | 151.2 | 102.6 | 203.6 | 165.2 | 4 | 4 | 102.6 | 1900-06-03 15:36 | 203.6
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 0.05 | 0.22 | 0.1 | 0.19 | 4 | 4 | 0.05 | 0.14 | 0.22
pH | pH | Quarterly | 6.1 | 6.4 | 6.2 | 6.2 | 4 | 4 | 6.1 | 1900-01-05 05:24 | 6.4
Obtained date |  |  | 2023-03-15 | 2023-06-14 | 2023-09-13 | 2023-12-04
Test results received |  |  | 2023-03-27 | 2023-07-03 | 2023-10-10 | 2023-12-12
Results published |  |  | 2023-03-28 | 2023-07-04 | 2023-10-11 | 2024-01-09
Point 13
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Ammonia | milligrams per litre | Quarterly | 0.4 | 0.46 | 0.32 | 0.47 | 4 | 4 | 0.32 | 0.4125 | 0.47
BOD | milligrams per litre | Quarterly | 1 | 1.8 | 1 | 1 | 4 | 4 | 1 | 1.2 | 1.8
Conductivity | microsiemens per centimetre | Quarterly | 370 | 359 | 374 | 328 | 4 | 4 | 328 | 357.75 | 374
Copper | milligrams per litre | Quarterly | 0.015 | 0.005 | 0.007 | 0.007 | 4 | 4 | 0.005 | 0.0085 | 0.015
Manganese | milligrams per litre | Quarterly | 0.465 | 0.42 | 0.314 | 0.754 | 4 | 4 | 0.314 | 0.48825 | 0.754
Nitrate | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.2 | 4 | 4 | 0.02 | 0.065 | 0.2
Nitrite | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
Nitrogen (total) | milligrams per litre | Quarterly | 1.15 | 1..07 | 0.82 | 1.25 | 4 | 3 | 0.82 | 1.0733 | 1.25
Redox Potential | milligrams per litre | Quarterly | 72.9 | 43.2 | 65.2 | 165.2 | 4 | 4 | 43.2 | 86.625 | 165.2
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 1.15 | 1.07 | 0.82 | 1.05 | 4 | 4 | 0.82 | 1.0225 | 1.15
pH | pH | Quarterly | 5.1 | 5.1 | 5 | 5.1 | 4 | 4 | 5 | 5.075 | 5.1
Obtained date |  |  | 2023-03-15 | 2023-06-14 | 2023-09-13 | 2023-12-04
Test results received |  |  | 2023-03-27 | 2023-07-03 | 2023-10-10 | 2023-12-12
Results published |  |  | 2023-03-28 | 2023-07-04 | 2023-10-11 | 2024-01-09
Point 14
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Ammonia | milligrams per litre | Quarterly | 1.94 | 3.03 | 3.21 | 3.08 | 4 | 4 | 1.94 | 2.815 | 3.21
BOD | milligrams per litre | Quarterly | 15 | 11 | 18 | 14 | 4 | 4 | 11 | 14.5 | 18
Conductivity | microsiemens per centimetre | Quarterly | 1180 | 1172 | 1186 | 1149 | 4 | 4 | 1149 | 1171.75 | 1186
Copper | milligrams per litre | Quarterly | 0.009 | 0.004 | 0.004 | 0.002 | 4 | 4 | 0.002 | 0.00475 | 0.009
Manganese | milligrams per litre | Quarterly | 6.75 | 8.4 | 7.51 | 7.88 | 4 | 4 | 6.75 | 7.635 | 8.4
Nitrate | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
Nitrite | milligrams per litre | Quarterly | 0.59 | 0.24 | 0.31 | 0.5 | 4 | 4 | 0.24 | 0.41 | 0.59
Nitrogen (total) | milligrams per litre | Quarterly | 6.02 | 5.65 | 7.15 | 6.12 | 4 | 4 | 5.65 | 6.235 | 7.15
Redox Potential | milligrams per litre | Quarterly | -23.1 | -28 | -28.7 | -33.8 | 4 | 4 | -33.8 | -28.4 | -23.1
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 5.43 | 5.41 | 6.84 | 5.62 | 4 | 4 | 5.41 | 5.825 | 6.84
pH | pH | Quarterly | 6 | 6.2 | 6.1 | 6.2 | 4 | 4 | 6 | 6.125 | 6.2
Obtained date |  |  | 2023-03-15 | 2023-06-14 | 2023-09-13 | 2023-12-04
Test results received |  |  | 2023-03-27 | 2023-07-03 | 2023-10-10 | 2023-12-12
Results published |  |  | 2023-03-28 | 2023-07-04 | 2023-10-11 | 2024-01-09
Point 15
Pollutant | Unit of measure | Frequency |  |  |  | NO SAMPLE NO EXIT FLOW | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Exceedance (yes/no) | Comment
Ammonia | milligrams per litre | Quarterly | 0.02 | 0.11 | 10.9 |  | 4 | 3 | 0.02 | 3.6767 | 10.9
BOD | milligrams per litre | Quarterly | 16 | 14 | 12 |  | 4 | 3 | 12 | 14 | 16
Conductivity | microsiemens per centimetre | Quarterly | 377 | 414 | 666 |  | 4 | 3 | 377 | 485.6667 | 666
Copper | milligrams per litre | Quarterly | 0.003 | 0.041 | 0.009 |  | 4 | 3 | 0.003 | 0.017667 | 0.041
Manganese | milligrams per litre | Quarterly | 2.54 | 2.75 | 5.4 |  | 4 | 3 | 2.54 | 3.5633 | 5.4
Nitrate | milligrams per litre | Quarterly | 0.02 | 0.03 | 0.03 |  | 4 | 3 | 0.02 | 0.026667 | 0.03
Nitrite | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 |  | 4 | 3 | 0.02 | 0.02 | 0.02
Nitrogen (total) | milligrams per litre | Quarterly | 4.91 | 4.17 | 21.6 |  | 4 | 3 | 4.17 | 10.2267 | 21.6
pH | pH | Special Frequency 2 | 9.2 | 8.8 | 7.5 |  | 4 | 3 | 7.5 | 8.5 | 9.2
Redox Potential | milligrams per litre | Quarterly | 38.6 | 12.4 | -4.6 |  | 4 | 3 | -4.6 | 15.4667 | 38.6
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 4.91 | 4.14 | 21.6 |  | 4 | 3 | 4.14 | 10.2167 | 21.6
Total Suspended Solids | milligrams per litre | Special Frequency 2 | 78 | 73 | 308 |  | 4 | 3 | 73 | 153 | 308
Special frequency Point 15 | LIMIT |  | 2023-02-24
pH | 6.5 - 8.5 | pH | 7.34
Total Suspended Solids | 50 | milligrams per litre | 250
Obtained date |  |  | 2023-03-15 | 2023-06-14 | 2023-09-13 | 2023-12-04
Test results received |  |  | 2023-03-27 | 2023-07-03 | 2023-10-10 | 2023-12-12
Results published |  |  | 2023-03-28 | 2023-07-04 | 2023-10-11 | 2024-01-09
Point 16
Pollutant | Unit of measure | Frequency | NO SAMPLE NO FLOW | NO SAMPLE NO FLOW DRY | NO SAMPLE NO FLOW DRY | NO SAMPLE NO FLOW DRY | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Ammonia | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
BOD | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Conductivity | microsiemens per centimetre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Copper | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Manganese | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Nitrate | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Nitrite | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Nitrogen (total) | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
pH | pH | Special Frequency 2 |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Redox Potential | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Total Suspended Solids | milligrams per litre | Special Frequency 2 |  |  |  |  | 4 | 0 | 0 | #DIV/0! | 0
Obtained date |  |  | 2023-03-15 | 2023-06-14 | 2023-09-13 | 2023-12-04
Test results received |  |  | 2023-03-27 | 2023-07-03 | 2023-10-10 | 2023-12-12
Results published |  |  | 2023-03-28 | 2023-07-04 | 2023-10-11 | 2024-01-09
Point 17
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Ammonia | milligrams per litre | Quarterly | 150 | 139 | 160 | 121 | 4 | 4 | 121 | 142.5 | 160
BOD | milligrams per litre | Quarterly | 18 | 18 | 19 | 7.5 | 4 | 4 | 7.5 | 15.625 | 19
Conductivity | microsiemens per centimetre | Quarterly | 2829 | 2844 | 3115 | 2430 | 4 | 4 | 2430 | 2804.5 | 3115
Copper | milligrams per litre | Quarterly | 0.002 | 0.001 | 0.007 | 0.001 | 4 | 4 | 0.001 | 0.00275 | 0.007
Manganese | milligrams per litre | Quarterly | 4.7 | 1.91 | 2.46 | 2.37 | 4 | 4 | 1.91 | 2.86 | 4.7
Nitrate | milligrams per litre | Quarterly | 0.13 | 0.14 | 0.05 | 0.11 | 4 | 4 | 0.05 | 0.1075 | 0.14
Nitrite | milligrams per litre | Quarterly | 0.09 | 0.04 | 0.04 | 0.04 | 4 | 4 | 0.04 | 0.0525 | 0.09
Nitrogen (total) | milligrams per litre | Quarterly | 158 | 143 | 163 | 127 | 4 | 4 | 127 | 147.75 | 163
Redox Potential | milligrams per litre | Quarterly | -79.3 | 61.4 | -50.7 | -87.6 | 4 | 4 | -87.6 | -39.05 | 61.4
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 158 | 143 | 163 | 127 | 4 | 4 | 127 | 147.75 | 163
pH | pH | Quarterly | 6.8 | 6.9 | 6.8 | 6.8 | 4 | 4 | 6.8 | 6.825 | 6.9
Obtained date |  |  | 2023-03-15 | 2023-06-14 | 2023-09-13 | 2023-12-04
Test results received |  |  | 2023-03-27 | 2023-07-03 | 2023-10-10 | 2023-12-12
Results published |  |  | 2023-03-28 | 2023-07-04 | 2023-10-11 | 2024-01-09
Point 18
Pollutant | Unit of measure | Frequency |  |  |  |  | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Ammonia | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
BOD | milligrams per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
Conductivity | microsiemens per centimetre | Quarterly | 1637 | 1590 | 2356 | 2949 | 4 | 4 | 1590 | 2133 | 2949
Copper | milligrams per litre | Quarterly | 0.064 | 0.039 | 0.076 | 0.021 | 4 | 4 | 0.021 | 0.05 | 0.076
Manganese | milligrams per litre | Quarterly | 2.41 | 2.11 | 3.24 | 3.25 | 4 | 4 | 2.11 | 2.7525 | 3.25
Nitrate | milligrams per litre | Quarterly | 0.27 | 0.25 | 0.45 | 0.58 | 4 | 4 | 0.25 | 0.3875 | 0.58
Nitrite | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
Nitrogen (total) | milligrams per litre | Quarterly | 1 | 0.55 | 0.7 | 0.73 | 4 | 4 | 0.55 | 0.745 | 1
pH | pH | Quarterly | 4.7 | 4.8 | 4.8 | 4.7 | 4 | 4 | 4.7 | 4.75 | 4.8
Redox Potential | milligrams per litre | Quarterly | 268.2 | 222.7 | 271.6 | 307.6 | 4 | 4 | 222.7 | 267.525 | 307.6
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 0.73 | 0.3 | 0.25 | 0.15 | 4 | 4 | 0.15 | 0.3575 | 0.73
Obtained date |  |  | 2023-01-17 | 2023-02-27 | 2023-03-21 | 2023-04-18 | 2023-05-16 | 2023-06-20 | 2023-07-24 | 2023-08-22 | 2023-09-25 | 2023-10-25 | 2023-11-28 | 2023-12-12
Test results received |  |  | 2023-01-31 | 2023-03-02 | 2023-03-29 | 2023-04-26 | 2023-05-24 | 2023-06-26 | 2023-07-25 | 2023-09-04 | 2023-10-10 | 2023-11-03 | 2023-11-30 | 2023-12-21
Results published |  |  | 2023-02-01 | 2023-03-03 | 2023-03-30 | 2023-04-27 | 2023-05-25 | 2023-07-04 | 2023-08-02 | 2023-09-05 | 2023-10-11 | 2023-11-04 | 2023-12-01 | 2024-01-09
Point 19
Pollutant | Unit of measure | Frequency | [12 empty] | No. of samples required by licence | No. of samples you collected and analysed | Lowest sample value | Mean of sample | Highest sample value | Comment
Alkalinity | (mg/L as CaCO3) | Monthly | 15 | 13 | 15 | 14 | 12 | 16 | 15 | 15 | 15 | 15 | 15 | 15 | 12 | 12 | 12 | 14.5833 | 16
Ammonia | milligrams per litre | Monthly | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 12 | 12 | 0.02 | 0.02 | 0.02
Biochemical Oxygen Demand (mg/L) | milligrams per litre | Monthly | 1 | 2 | 1.5 | 1 | 1.8 | 1 | 1 | 1 | 1.2 | 1 | 1 | 1 | 12 | 12 | 1 | 1.2083 | 2
Calcium (mg/L) | milligrams per litre | Monthly | 0.3 | 0.3 | 0.4 | 0.3 | 0.2 | 0.3 | 0.2 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 12 | 12 | 0.2 | 0.25833 | 0.4
Chemical Oxygen Demand (mg/L) | milligrams per litre | Monthly | 10 | 10 | 21 | 10 | 10 | 10 | 10 | 12 | 10 | 10 | 10 | 10 | 12 | 12 | 10 | 11.0833 | 21
Chloride (mg/L) | milligrams per litre | Monthly | 19 | 17 | 13 | 15 | 15 | 16 | 13 | 18 | 20 | 14 | 15 | 17 | 12 | 12 | 13 | 16 | 20
Conductivity (µScm-1) | microsiemens per centimetre | Monthly | 139 | 142 | 132 | 132 | 130 | 139 | 124 | 125 | 143 | 128 | 122 | 130 | 12 | 12 | 122 | 132.1667 | 143
Copper (mg/L) | milligrams per litre | Monthly | 0.05 | 0.033 | 0.152 | 0.057 | 0.067 | 0.072 | 0.084 | 0.072 | 0.075 | 0.111 | 0.077 | 0.054 | 12 | 12 | 0.033 | 0.075333 | 0.152
Disolved Oxygen (mg/L) | milligrams per litre | Monthly | 4.8 | 5.3 | 4.5 | 4.6 | 4.2 | 3 | 3.9 | 3.6 | 3.9 | 3.9 | 4.3 | 3.8 | 12 | 12 | 3 | 4.15 | 5.3
Flouride (mg/L) | milligrams per litre | Monthly | 0.04 | 0.05 | 0.04 | 0.04 | 0.04 | 0.05 | 0.05 | 0.07 | 0.06 | 0.06 | 0.06 | 0.03 | 12 | 12 | 0.03 | 0.049167 | 0.07
Iron (mg/L) | milligrams per litre | Monthly | 18.5 | 13.8 | 61 | 24.6 | 31.9 | 36 | 43.3 | 27.9 | 33.3 | 49.8 | 29.6 | 22.1 | 12 | 12 | 13.8 | 32.65 | 61
Manganese (mg/L) | milligrams per litre | Monthly | 0.434 | 0.391 | 1.58 | 0.747 | 0.815 | 0.978 | 1.66 | 0.652 | 0.617 | 1.5 | 0.826 | 0.661 | 12 | 12 | 0.391 | 0.90508 | 1.66
Nitrate (N mg/L) | milligrams per litre | Monthly | 0.46 | 0.59 | 0.47 | 0.54 | 0.53 | 0.15 | 0.3 | 0.44 | 0.47 | 0.49 | 0.47 | 0.45 | 12 | 12 | 0.15 | 0.44667 | 0.59
Nitrite (N mg/L) | milligrams per litre | Monthly | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 12 | 12 | 0.02 | 0.02 | 0.02
Nitrogen (total) (mg/L) | milligrams per litre | Monthly | 0.7 | 0.76 | 1.23 | 0.87 | 0.91 | 0.58 | 0.59 | 0.87 | 1.01 | 0.98 | 0.86 | 0.71 | 12 | 12 | 0.58 | 0.83917 | 1.23
Organochlorine pesticides (μg/L) | micrograms per litre | Monthly | [12 empty] | 12 | 12 | 1 | 1 | 1 | bar: 2023-02-01 to 2024-01-09
pH (pH units) | pH | Monthly | 5.4 | 5.4 | 5.5 | 5.7 | 5.6 | 5.6 | 5.6 | 5.6 | 5.5 | 5.8 | 5.5 | 5.5 | 12 | 12 | 5.4 | 5.5583 | 5.8
Potassium (mg/L) | milligrams per litre | Monthly | 1 | 1.2 | 0.9 | 1.2 | 1 | 1.3 | 1 | 1.1 | 1.2 | 1 | 1.2 | 1.1 | 12 | 12 | 0.9 | 1.1 | 1.3
Redox Potential (mV) | milligrams per litre | Monthly | 254.5 | 239.4 | 119.3 | 135.7 | 170 | 202 | 181.5 | 210 | 188.9 | 152 | 195.7 | 183.3 | 12 | 12 | 119.3 | 186.025 | 254.5
Sodium (mg/L) | milligrams per litre | Monthly | 24 | 24 | 22 | 24 | 22 | 23 | 21 | 21 | 23 | 21 | 21 | 23 | 12 | 12 | 21 | 22.4167 | 24
Standing Water Level (m) | milligrams per litre | Monthly | 16.7 | 17.2 | 17.5 | 17.8 | 17.9 | 18.1 | 18.3 | 18.5 | 18.7 | 18.8 | 19 | 19 | 12 | 12 | 16.7 | 18.125 | 19
Sulfate (mg/L) | milligrams per litre | Monthly | 20 | 22 | 21 | 23 | 20 | 20 | 19 | 18 | 20 | 18 | 18 | 20 | 12 | 12 | 18 | 19.9167 | 23
Temperature (C) | degrees celsius | Monthly | 21.6 | 20.8 | 22.6 | 20.7 | 20.4 | 20.4 | 20.3 | 20.8 | 21 | 20.6 | 20.9 | 21.2 | 12 | 12 | 20.3 | 20.9417 | 22.6
Total Kjeldahl Nitrogen (mg/L) | milligrams per litre | Monthly | 0.24 | 0.17 | 0.76 | 0.33 | 0.38 | 0.43 | 0.29 | 0.43 | 0.54 | 0.49 | 0.39 | 0.26 | 12 | 12 | 0.17 | 0.3925 | 0.76
Total Phenolics (μg/L) | micrograms per litre | Monthly | [12 empty] | 12 | 12 | 1 | 1 | 1 | bar: 2023-02-01 to 2024-01-09
Obtained date |  |  | 2023-02-01: 2023-03-15; 2023-03-03: 2023-06-14; 2023-03-30: 2023-09-13; 2023-04-27: 2023-12-04
Test results received |  |  | 2023-02-01: 2023-03-27; 2023-03-03: 2023-07-03; 2023-03-30: 2023-10-10; 2023-04-27: 2023-12-12
Results published |  |  | 2023-02-01: 2023-03-28; 2023-03-03: 2023-07-04; 2023-03-30: 2023-10-11; 2023-04-27: 2024-01-02
Point 20
Pollutant | Unit of measure | Frequency | 2023-05-25: No. of samples required by licence; 2023-07-04: No. of samples you collected and analysed; 2023-08-02: Lowest sample value; 2023-09-05: Mean of sample; 2023-10-11: Highest sample value; 2023-11-04: Comment
Ammonia | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
BOD | milligrams per litre | Quarterly | 1 | 1 | 1 | 1 | 4 | 4 | 1 | 1 | 1
Conductivity | microsiemens per centimetre | Quarterly | 130 | 194 | 241 | 250 | 4 | 4 | 130 | 203.75 | 250
Copper | milligrams per litre | Quarterly | 0.032 | 0.007 | 0.014 | 0.002 | 4 | 4 | 0.002 | 0.01375 | 0.032
Manganese | milligrams per litre | Quarterly | 0.354 | 0.158 | 0.289 | 0.187 | 4 | 4 | 0.158 | 0.247 | 0.354
Nitrate | milligrams per litre | Quarterly | 0.52 | 0.05 | 0.03 | 0.06 | 4 | 4 | 0.03 | 0.165 | 0.52
Nitrite | milligrams per litre | Quarterly | 0.02 | 0.02 | 0.02 | 0.02 | 4 | 4 | 0.02 | 0.02 | 0.02
Nitrogen (total) | milligrams per litre | Quarterly | 0.74 | 0.13 | 0.28 | 0.17 | 4 | 4 | 0.13 | 0.33 | 0.74
pH | pH | Special Frequency 2 | 5.3 | 5.6 | 5.8 | 5.7 | 4 | 4 | 5.3 | 5.6 | 5.8
Redox Potential | milligrams per litre | Quarterly | 155.6 | 199.8 | 227.7 | 227.5 | 4 | 4 | 155.6 | 202.65 | 227.7
Total Kjeldahl Nitrogen | milligrams per litre | Quarterly | 0.22 | 0.08 | 0.25 | 0.11 | 4 | 4 | 0.08 | 0.165 | 0.25
Formulas:
Mean of sample = AVERAGE([NO EXIT FLOW NO SAMPLE TAKEN]:[NO EXIT FLOW NO SAMPLE TAKEN])
Note on D399: Colin Arnold: Non compliance reported 06/03/2023